## Sheet1
BUILDING & LAB NUMBER: | January | February | March | April | May | June | July | August | September | October | November | December
Have inductions taken place for all new users, are training certificates in-date and in the safety file?
All risk assessments in the safety file and in-date? e.g RA's, SOP's, CRA's, COSHH etc.
Are all control measures being followed?
Is the general housekeeping in order?
Heating, ventilation, lighting, flooring etc. all in order?
Hand washing facility in order? soap and paper towel available if appropriate to the laboratory
First aid facilities including eyewash, Diphoterine (if applicable) in order/stocked?
Are fire exits kept clear?
Suitable seating in use? fabric chair should not be present where hazardous chemicals are used
Are all chemicals stored in the correct places?
Are Chemical storages in good order?
Are chemical inventories up to date? e.g on LabCup
Are chemicals sufficiently labelled?
Is waste suitably disposed of? E.g. chemicals, cardboard, sharps etc. free of overflowing bins, over accumulation of waste and incorrect disposal
Are spill kits available? If applicable
Are fume cabinets in good order and being used appropriately i.e free of clutter, if applicable
Are gas cylinders in date?
Are all gas cylinder fixed securely?
Are gas cylinder regulators in-date and connected correctly?
Are gas monitors in good working order and in-date? Where applicable
Are pressure vessels in-date and being used appropriately? e.g free from icing, PRV in-date
Are all lifting tackle and mechanical aids in good condition and in-date where applicable?
Is any working at height equipment in-date and tested? E.g ladders, elephant stools, working platforms
Is electrical equipment in good order e.g no obvious damage, clean water in water baths etc.
Is PPE being used, in good condition, stored and disposed of correctly? E.g safety boots, correct gloves, safety glasses, lab coats, face visors etc.
Inspectors initials
Action required: If issues are found, what corrective actions are required? By whom? Research - report to academic in charge of area. Teaching - report to support staff, Building - report to TOM or Building manager.