General Risk Assessment Form

| Date: (1) | Assessed by: (2) | Checked / Validated* by: (3) | Location: (4) | Assessment ref no (5) | Review date: (6) |
| --- | --- | --- | --- | --- | --- |
| Task / premises: (7) Use of portable electric space heaters in offices |  |  |  |  |  |

| Activity (8) | Hazard (9) | Who might be harmed and how (10) | Existing measures to control risk (11) | Risk rating (12) | Result (13) |
| --- | --- | --- | --- | --- | --- |
| Use of portable electric space heaters | Electrical equipment, electricity, heat, trailing cables | User and all those in the vicinity Fire, electrocution burns, slips, trips and falls | Portable heaters are only used as a last resort. In the first instance all issues regarding heating should be reported to the Estates help desk on x52424 The use of floor standing oil filled radiators of no more than 2.5kwh is permitted. They are PAT tested on an annual basis. Use of fan heaters or any other type of space heater is not permitted. Use of electrical equipment from home is prohibited, unless it has been inspected and PAT tested by someone qualified to do so. Heaters are plugged directly into an electrical outlet. Heaters are not left unattended. Turned off and unplug when not in use, and at the end of each business day. Heaters are placed away from the wall and not near combustible materials. Any portable electric space heater found to be in poor operating condition, damaged, or used improperly, is to be removed without notice. | Medium | A |

Authorisation by Line Manager /PI (15) I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to as low as is reasonably practicable.

Print name: Signed: Date:

Validated by:  (16)

Signature: 


Date:

Declaration by researcher and PI / Line Manager (17) I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

| Name (please print) | Role | Signed | Date |
| --- | --- | --- | --- |